Technical Specifications (Datacenter Misc)

General Technical Requirements

The manufacturing vendor(s) should be in existence for at least five (5) years and offering the similar goods and services for a minimum period of two (2) years. The offered brands, where applicable, should be amongst the top ten (10), according to the assessment of a reputed global market analyst, such as ‘Gartner’, ‘IDC’, etc.

Licensing for all software (where applicable) must be registered through Regional Headquarters, under which Nepal falls, of the global software vendors for ensuring convenient upgradeability and renewal (as and when necessary)

Tenderers’ should provide authorization letter from respective hardware and software manufacturers/ authorized or licensed Resellers/vendors.

Electrical Power: All active (powered) equipment must operate on voltage range:  220v +/- 20v, and frequency range: 50Hz +/- 2Hz. All active equipment must include power plugs standard in Nepal.

Environmental: Unless otherwise specified, all equipment must operate in environments of 4-45°C, 20-85 percent relative humidity, and 0-40 grams per cubic meter of dust.

Safety: Unless otherwise specified, all equipment must operate at noise levels no greater than 55 decibels.

All electronic equipment that emits electromagnetic energy must be certified as meeting US FCC class B or EN 55022 and EN 50082-1, or equivalent emission standards.

### Technical Specifications (Datacenter Switch)

| SL No. | Description | Minimum Requirement |
| --- | --- | --- |
|  | Type | Layer-3 Managed Switch |
|  | Port Speed | 10/100/1000 Mbps |
|  | Ports | 24 |
|  | Port Types | Ethernet RJ-45 |
|  | VLANs | 1024 VLANs, IEEE 802.1Q |
|  | Routing | Static routes Routing Information Protocol (RIP) v1/v2 Open Shortest Path First (OSPF) v1/v2/v3 Classless Inter-Domain Routing (CIDR) Internet Control Message Protocol (ICMP) ICMP Router Discover Protocol (IRDP) Virtual Redundant Routing Protocol (VRRP) Address Resolution Protocol (ARP) Internet Group Management Protocol (IGMP) v2 Distance-Vector Multicast Routing Protocol (DVMRP) DHCP – Helper/Relay |
|  | Features | Auto MDI/MDX, QoS, Port mirroring |
|  | Mounting | Mountable in 4-post square hole rack |
|  | Management | 100/1000Mbps Ethernet and In-band |
|  | Form Factor | 19” Rack mountable |
|  | Others | Necessary accessories, cables, drivers, connectors (if any), English manual |
|  | Warranty | 3 (Three) Years Full Warranty |

Service Specification

Commissioning: The switch shall be installed in appointed rack and configured per specification. Connectivity to storage and servers shall be confirmed and tested.

Training and Training Materials:

Users: Technical support staff.

Training or Instruction Manuals must be provided by the supplier on installation, operation of the equipment and basic troubleshooting and maintenance.

Technical Support and Warranty Service.

All Hardware & Software should have a warranty period that is in conformance with the specifications supplied in the Technical Specification. During the warranty period, the Supplier will be responsible for the repair/replacement/support of all malfunctioning equipment/software supplied under this tender.

User Support:

The supplier should maintain the following user support:

- The Tenderer must have on-site service capability in Kathmandu as per specified technical support and warranty service.

- A suitable Service Center must be established to ensure a high level of service.

- Service records must be maintained at the Service Center for both hardware and software warranty support.

- The Tenderer is responsible for notification and installation of new versions/releases of software within mutually agreed timeframes.

- Warranty period shall be 3 years.

Delivery

| Quantity | 1 set |  |
| --- | --- | --- |
| Delivery Schedule |  |  |
| Quantity | Location | Maximum Delivery Time |
| 1 Set | Kathmandu | 6 weeks |

### Technical Specifications (Datacenter SAN Switch)

| SL No. | Description | Minimum Requirement |
| --- | --- | --- |
|  | Type | Managed Switch |
|  | Port Speed | 100/1000 Mbps |
|  | Ports | 24 |
|  | Port Types | Ethernet RJ-45 |
|  | VLANs | 1024 vlans, IEEE 802.1Q |
|  | Features | Auto MDI/MDX, QoS, Port mirroring |
|  | Mounting | Mountable in 4-post square hole rack |
|  | Management | 100/1000Mbps Ethernet |
|  | Form Factor | 19” Rack mountable |
|  | Others | Necessary accessories, cables, drivers, connectors (if any), English manual |
|  | Warranty | 3 (Three) Years Full Warranty |

Service Specification

Commissioning: The switch shall be installed in appointed rack and configured per specification. Connectivity to storage and servers shall be confirmed and tested.

Training and Training Materials:

Users: Technical support staff.

Training or Instruction Manuals must be provided by the supplier on installation, operation of the equipment and basic troubleshooting and maintenance.

Technical Support and Warranty Service.

All Hardware & Software should have a warranty period that is in conformance with the specifications supplied in the Technical Specification. During the warranty period, the Supplier will be responsible for the repair/replacement/support of all malfunctioning equipment/software supplied under this tender.

User Support:

The supplier should maintain the following user support:

- The Tenderer must have on-site service capability in Kathmandu as per specified technical support and warranty service.

- A suitable Service Center must be established to ensure a high level of service.

- Service records must be maintained at the Service Center for both hardware and software warranty support.

- The Tenderer is responsible for notification and installation of new versions/releases of software within mutually agreed timeframes.

- Warranty period shall be 3 years.

Delivery

| Quantity | 1 set |  |
| --- | --- | --- |
| Delivery Schedule |  |  |
| Quantity | Location | Maximum Delivery Time |
| 1 Set | Kathmandu | 6 weeks |

### Technical Specifications (Datacenter Misc)

| SL No. | Description | Minimum Requirement |
| --- | --- | --- |
| 1 | Rack | 2 Units Standard 42U 19 Inch, enclosed and lockable |
| 4 | Rack Power Distribution Unit (PDU) | 10 outlets per rack – fitting power cables for selected servers, UPS, switches and storage. |
| 5 | Rack Switch | 16-port 100/1000 Mbps per rack |
| 6 | Rack Ventilation | Rack ventilation system or rack roof exhaust fans |
| 7 | Rack Trays | 1 Equipment per rack |
| 8 | Rack Patch panels | 48-port Cat 6 per rack |
| 9 | Management station | 1 Rack mounted LCD 15”, 8-port KVM switch, keyboard and mouse |
| 10 | Rack cabling | Cabling and Cable management as required |
| 11 | Cable & Tools | 2 CAT 6e cable spools, 2 RJ-45 crimp tool, 110/66 punch tool |
| 12 | Warranty | 3 (Three) Years Full Warranty |

Service Specification

Commissioning: The racks shall be installed in appointed area and configured with fans/ventilation system, PDUs, switches, UPSs, patch panels, cabling and cable management, and other peripherals as required. Switch and patch panel connectivity shall be confirmed and tested.

Training and Training Materials:

Users: Technical support staff.

Training or Instruction Manuals must be provided by the supplier on installation, operation of the server computers and basic troubleshooting and maintenance.

Technical Support and Warranty Service.

All Hardware & Software should have a warranty period that is in conformance with the specifications supplied in the Technical Specification. During the warranty period, the Supplier will be responsible for the repair/replacement/support of all malfunctioning equipment/software supplied under this tender.

User Support:

The supplier should maintain the following user support:

- The Tenderer must have on-site service capability in Kathmandu as per specified technical support and warranty service.

- A suitable Service Center must be established to ensure a high level of service.

- Service records must be maintained at the Service Center for both hardware and software warranty support.

- The Tenderer is responsible for notification and installation of new versions/releases of software within mutually agreed timeframes.

- Warranty period shall be 3 years.

Delivery

| Quantity | 1 set |  |
| --- | --- | --- |
| Delivery Schedule |  |  |
| Quantity | Location | Maximum Delivery Time |
| 1 Set | Kathmandu | 6 weeks |