- Technical Specifications (Fingerprint Scanner)

General Technical Requirements

The manufacturing vendor(s) should be in existence for at least three (3) years and offering the same brand for an equivalent period of time. The offered brand should be amongst the top ten (10), according to the assessment of a reputed institute, such as ‘NIST’.

Licensing for all software (where applicable) must be registered through Regional Headquarters, under which Nepal falls, of the global software vendors for ensuring convenient upgradeability and renewal (as and when necessary)

Bidders should provide authorization letter from respective software vendors for third party software.

Electrical Power: All equipment should be USB low power equipment.

Environmental: Unless otherwise specified, all equipment must operate in environments of 4-45 degrees centigrade, 20-90 percent relative humidity, and 0-40 grams per cubic meter of dust.

Safety: Unless otherwise specified, all equipment must operate at noise levels no greater than 55 decibels.

All electronic equipment that emits electromagnetic energy must be certified as meeting US FCC class B or EN 55022 and EN 50082-1, or equivalent emission standards.

| SL No. | Description | Minimum Requirement |
| --- | --- | --- |
|  | Standards Compliance & Certification | NIST and FBI standard for fingerprint images, other standards from ANSI, ICAO, ISO, BioAPI. (All current complied to standards and certifications should be listed) |
|  | Brand | Internationally Reputed Brand |
|  | Model | To be mentioned |
|  | Scan resolution | 500dpi |
|  | Interface | USB 2.0 |
|  | Platen Size | 0.5” x 0.7” |
|  | Scanner type | Optical |
|  | SDK/API | Provide control and capture of raw fingerprint image. Available for Windows and Linux environment using C/C++, C#, .NET and VB 6 frameworks. |
|  | Power | USB Low power type |
|  | Software Compatibility | Windows and Linux, compatible with NIST approved SDKs for fingerprint minutiae extraction and matching. |
|  | Others | Necessary accessories, cables, Driver & SDK CD, Connectors (if any) |
|  | Warranty | 1 (One) Years Full (Replacement & Service) Warranty |

Technical Support:

Warranty Service.

All scanner & Software should have a warranty period that is in conformance with the specifications supplied in the Technical Specification. During the warranty period, the Supplier will be responsible for the repair/replacement/support of all malfunctioning equipment/software supplied under this tender. The Purchaser will require on-site support for warranty period as specified.

The Tenderer must submit as part of their proposal a detailed plan including required manpower to support the supplied Hardware and Software. The required manpower provided must ensure compliance with the requirements. Manpower can be changed with the advance approval of the Purchaser.

User Support:

The supplier should maintain the following user support

- The Tenderer must have service capability up to the district level.

- A suitable Helpdesk and Service Center must be established to ensure a high level of service. Manpower for the services center must be indicated.

- Service records must be maintained at the Helpdesk for both hardware and software warranty support. In addition, calls to the Helpdesk must be tracked including the disposition and subsequent resolution of problem. These records are to be reviewed monthly with the Purchaser.

- The Tenderer is responsible for notification and installation of new versions/releases of software within mutually agreed timeframes.

- Software service should be conducted in a manner that does not compromise the security of the ECN’s data or the operations of the ECN.

- Warranty period for the Scanners shall be 1 years.

Delivery

| Quantity | 4800 units |  |
| --- | --- | --- |
| Delivery Schedule |  |  |
| Quantity | Location | Maximum Delivery Time |
| 120 units | Kathmandu | 4 weeks* |
| 4680 units | Kathmandu | 6 weeks |

* Express delivery of 25 units desired.